## STUDENT INNFO
Name | YUSRA RAEES
Roll # | EN-21M-11
Subject | HMT
Heat Exchnager Type | Shell & Tube (One Shell Two Tube Pass)
Hot Fluid | ETHYLENE (shell side)
Cold Fluid | Water (tube side)

## DESIGN OF HEAT EXCHANGER
SHELL SIDE |  | TUBE SIDE
mass flow rate (kg/h) | 0.578 | mass flow rate (kg/h) | 2.756
inlet temprature (k) | 135 | inlet temprature (k) | 30
outlet temprature | 40 | outlet temprature | 40
pressure drop (kg/m2) | 16.367 | pressure drop (kg/m2) | 537.1088
Fowling factor (h m2 C/K Cal) | 0.00021 | Fowling factor (h m2 C/K Cal) | 0.00035
CALCULATIONS
HEAT DUTY |  |  |  | ESTIMATED U
Q ( tube side ) | 1641.6114 | Q (shell side) j/s | 115066 | U( W/ m2 k) | 338.612
LMTD |  |  |  | SIZE
LMTD F | 92.7491 | R | 9.5 | Area (m2) | 0.065338 | Total flow rate area (m2) | 0.027598
CORRECTED LMTD F | 74.1993 | S | 0.095238 | area of one tube (m2) | 0.2693
|  | F (from graph) | 0.8 | no of tubes | 35
ESTIMATED LAYOUT
|  |  |  | No of tubes /pass | 9
Material used for shell | copper alloy | Material used for tube | copper alloy | Tube cross sectional area (m2) | 0.0030664
shell pass | 1 | Tube outer diameter (in) | 0.75 | Area / Pass (m2) | 3.8889
|  | Tube inner diameter (in) | 0.0157 | Volumetric flow rate (tube side) m3/s | 0.0027
|  | Tube length (m) | 4.5 | Tube side velocity (m/s) | 1.58
|  | Square pitch(in) | 1 | k 1 | 0.156
|  | Tube pass | 4 | n 1 | 2.291
TUBE SIDE HEAT COFFICIENT
Reynolds number | 30949 | Prandtl number | 5.361 | shell diameter (in) | 10
Length diameter Ratio | 573.2484 | j factor (Dittus-Boelter Correlation | 0.0037 | Baffle spacing (m) | 0.1
Nusselt number | 174.845 | h (w/mk) | 6916.99 | Area shell side (m2) | 0.0068354
|  |  |  | Volumetric flow rate (shell side) m3/s | 0.00068
SHALL SIDE HEAT TRANSFER COFFICIENT |  |  |  | Shell side velocity (m/s) | 10.0521
Equilant diameter (in) | 0.94562 | Prandtl number | 3.2394
Reynolds number | 32742869.5515 | j factor ( bell delaware Correlation) | 5.0045
|  | h (w/m2 k) | 533263297.1231
Pressure drop across tube
L (m) | 1.372 | density (kg/m3) | 993 | j f (colebrook equation) | Initial guess of j (f) Darcy-Weisbach | 0.023855
Tube inner diameter (m) | 0.0042913 | velocity (m/s) | 1.5832 | Pressure drop (pa ) | 316156.9398
|  |  |  | Pressure drop (psi ) | 45.8673
Shell side pressure drop
L (m) | 1.3672 | Velocity (m/s) | 3.0647 | J(f) (Bell-Delaware Method) | 0.0253 | Initial guess for j(f) | 0.023855
Length of Baffle Spacing (m) | 0.027333 | Shell Diameter (m) | 2.7333 | Pressure Drop (Pa) | 8077425.0738
Density (kg/m3) | 16066.035 | Shell Equivalent Diameter (m) | 0.25847 | Pressure Drop (psi) | 1171.8544
Cost estimation USD
Base Cost of Heat Exchanger (CB) | 19929.0883 | Exchanger Type Cost Factor (FD) (Fixed Head) | 0.25595 | Design Pressure Cost Factor (FP) (600-900(psig)) | 0.81022
Material of Construction Cost Factor (FM) | 0.38323 | Heat Exchanger Cost (CE) | 1583.8075

## phycical properties
PHYSICAL PROPERTIES | TUBE SIDE |  |  | SHELL SIDE
| Inlet | Mean | Outlet | Inlet | Mean | Outlet
Density (kg/m3) | 995.6 | 1491.7 | 992.2 | 559 | 1003.5 | 889
Viscosity (cp) | 0.8 | 1.125 | 0.65 | 0.12 | 0.2115 | 0.183
Thermal Conductivity (w/mK) | 0.606 | 0.909 | 0.606 | 0.109 | 0.174 | 0.13
Specific Heat Capacity (j/g k) | 4.18 | 6.27 | 4.18 | 1.56 | 2.665 | 2.21